## Checklist
McMaster University
Laboratory Workplace Inspection
Date: ______________________ Inspected by: _______________________________
Emergency | General
Exit routes clearly marked and unobstructed | Work areas clean and tidy
Lab door signage listing supervisor, hazards, PPE, and emergency numbers is current | Walking surfaces free of tripping, slipping and falling hazards
Aisles are clear and unobstructed | Ceiling diffusers are unobstructed, free of debris/soilage
Exit lights are operational and clearly visible | Lighting is working and shades are secures
Chemical/Biological Spill Kits available | Ceiling tiles secured and in place
If applicable eye wash/shower stations operatation and annual/monthly inspections current | Limited dirty glassware
Eyewash is aligned/good pressure (streams meet in the middle) | Furniture in safe condition
Emergency 'Dial 88' notices are posted and visible | Walls/doors/windows/sills/floors/whiteboards in safe condition
Fire extinguisher with monthly inspections current | Waste containers adequate, are placed to avoid obstruction
Is sand bucket present and free of debris if applicable | Are the aisle spaces clear of storage/equipment etc.
First Aid Kit and or HF Kit available and stocked appropriately if required | No Eating/Drinking Signage is posted
If applicable, fire hose cabinet with recent date checked (tag or sticker) | Sink disposal concentrations posted and complied with
Push button door openers are operational if present | No sign of chemical spills, Benchkote paper clean and stain free
Warning notices posted on the exterior door indicating radiation, magnetic field, laser, BSL1, level 2/level 3, etc. | Adequate sharps containers and waste containers for work being done. No excessive storage of solvents on benches
Equipment/Electrical | Waste
Centrigues/Incubator shakers - in good working order with interlocks | Hazardous waste containers labelled appropriately
Equipment meets the Electrical Safety Authority standards (UL, CSA stickers) | Sharps disposed into labelled, puncture-proof containers, needles are not recapped
Equipment, tools, pulleys, belts, having exposed moving parts are guarded and implosion hazards (equipment under vacuum) properly protected | Biological (i.e. Level 1/pathogenic) waste disposed of in double lined (yellow) boxes or bio-bins
SOPs available for hazardous equipment operations | Biological (anatomical) waste disposed of in red pails or double lined (red) drums
Piping (tubing), valves, and fittings checked for integrity | Radioactive wastes properly contained and labeled
Electrical equipment, power strips, cords/plugs, no evidence of cuts, fraying or other damage | Broken glass in appropriate glass waste containers
Class 3B & 4 lasers registered and appropriate Danger signage posted/barriers to entry | Empty chemical containers triple rinsed and disposed of in garbage or green labeled
Freezers defrosted regularly - free of buildup | Disposable gloves are not being reused and are disposed of properly
Extension cords used for temporary applications only | No excessive storage or stockpiling of waste
Electrical panels are not blocked (1m clearance in front and accessible path)
Hazardous Materials | Ergonomics
Chemicals are stored to compatibility - acids/bases separate, flammables separate, large bottles on bottom shelves, etc. | Sufficient counter/work bench space available
Up to date inventory of chemicals used in the lab - delisting of barcodes evident | To avoid repetitive movement, activities are changed frequently
SDS easily available and occupants can access them | Material stored in cabinets/counters are within best practice reaching range
Is appropriate PPE present (laser/splash goggles/glasses; gloves, etc.) and being used | Suitable seating with ergonomic best practices considered
Storage of organic peroxides, dated, tested after expiry (6 months) or disposed of; oxidizers are stored separate from flammables and organics | Manual handling techniques are practiced (i.e. dolley/cart used, reducing the load when lifting)
Flammables stored away from heat or other ignition sources
Corrosive chemical storage area(s) is labelled; corrosive materials are stored low to ground; containers are in good condition | Fume Hoods/BioSafety Cabinets
If applicable, refrigerator is explosion safe or explosion proof, according to use & labeled | Fume hoods/BSCs have annual certification sticker
Flammable storage cabinet doors are closed and latch | Sash lowered to appropriate level
Flammable/combustible products do not exceed storage limits | Interior of fume hood/BSC is not cluttered with apparatus to disrupt air flow
Gas cylinders properly secured and capped or with a regulator | Fume hood/BSC monitor is operating
Flammable gases are not stored in lab (i.e. propane, acetylene) | No sign of spills, glassware labeled, waste not overflowing
Labelling is used for secondary containment, wash bottles, samples, etc. | If working with infectious materials does lab have authorization from the Biossafety Committee
Are spill kits available for chemicals in use (acid/base/solvent)
Sharps containers not overflowing, glass waste containers not overflowing
If Designated Substances present (benzene, lead, arsenic, etcd.) is DSR being followed
If radiation sources present - is permit posted and current
Occupants are aware of mental health resources, wellness and stress management tips and education, EFAP
https://hr.mcmaster.ca/well-being

## BldgRm
Location - Building/Room Number | Satisfactory Yes/No | Deficiencies - Refer to Criteria